PROCESSING AND INTERPRETATION OF CEREBROSPINAL FLUID SPECIMENS

Ramsamy Y , Mlisana KP

INTRODUCTION

Bacterial meningitis is the result of an infection of the meninges.  Identification of the

infective agents is one of the most important functions of the microbiology laboratory.  CSF from a patient suspected of meningitis is a specimen that requires immediate processing to determine the causative agent.

SAFETY

Universal safety precautions should always be followed when processing biological samples.

Specimens must be processed in the biological safety cabinet.

Laboratory personnel must wear appropriate protective equipment.

MATERIALS

- Reagents

  - Gram stain reagents

  - India ink

  - Cryptococcal Antigen test kit

- Media

- Chocolate agar – Enriched agar for culture and isolation of most organisms and in addition fastidious organisms

Horse blood agar 5% - culture and isolation of most organisms . Able

Hemolysis of red blood cells (characteristic of some pathogens)

The following media should be set up under the following circumstances noted below in addition to above agar plates mentioned.

MacConkey agar - Only if Gram negative organisms are seen on the

Gram stain

- Horse blood agar 10% - for culture and isolation of anaerobes

- Amikacin blood agar - for culture and isolation of anaerobes

- Mueller Hinton agar – For susceptibility testing

- Brain Heart Infusion Broth – Enrichment broth for isolation of fastidious organisms if patient has a VP shunt insitu.

- Thioglycollate if ANO2 suspected – Enrichment broth for isolation of anerobes

- 5% Sheep blood Mueller Hinton agar – Sensitivity testing for S. pneumoniae and N.meningitidis

- Sabouraud Dextrose agar – For culture and isolation of yeast

- Haemophilus test agar - susceptibility testing for H.influenzae

- Antibiotic discs

  - Optochin 5ug – ID of strep pneumo

  - Pen E-Test strips

  - Susceptibility testing with Pen E-Tests are performed for S.pneumoniae and N. meningitidis are there are no established disc diffusion parameters as per CLSI

  - Pen E tests are performed to establish MICs( Minimal inhibitory concentration) . This is to ensure that the correct antibiotic is used to treat a meningitis. The following breakpoints are used as per CLSI guidelines for S.pneumoniae . MIC </=0.06 ( susceptibile and penicillin can be used) MIC >/= 0.12  ( penicillin may not be used as this would result in treatment failure) Pen E tests are performed on Mueller Hinton Sheep blood agar using a 0.5 Mcf standard of the organism.

  - The following breakpoints are used for N.meningitidis ( Penicillin)

  - N. meningitidis ( </= 0.06 – susceptible , 0.12 – 0.25 – Intermediate ,

>/= 0,5 – resistant)

  - CTX E Test strips  susceptibility testing is performend in the same manner as mentioned above only using Ceftriaxone. MIC breakpoints  – S. pneumoniae(</= 0.05 –susceptible , 1 – intermediated and >/= 2- resistant)

  - N. meningitidis ( Ceftriaxone ) - </= 0.12 – susceptible

  - Oxacillin 1ug - susceptibility testing for  S. pneumoniae

  - Gram neg. sensitivity panel

  - ST/STR sensitivity panel

  - HI/Pneumo/Neiss sensitivity panel

- ESBL set (Cefotaxime, Augmentin, Ceftazidime)

Cefoxitin 30µg – Determination of Staphylococcus aureus susceptibility (MSSA vs MRSA)

SPECIMEN COLLECTION & RECEPTION

    - Samples should be collected prior to commencement of antimicrobial therapy.

    - CSF samples are obtained by lumbar puncture, ventricular taps and shunts are removed via the reservoir unit.

    - One plain tube with no additive is sufficient for Microbiology.  Ideally 1.5 – 2ml is required for routine testing.

SPECIMEN PROCESSING: CSF AND VENTRICULAR TAPS

- Label media, tubes and slides with the lab number of the specimen

MACROSCOPIC APPEARANCE

- Note gross appearance of CSF i.e. Clear and colourless, turbid, blood stained or xanthochromic.  Also note presence of fibrin clot and/or blood clot.

- If a fibrin clot is present a cell count will be performed and the result will be treated with reserve.

- A sample with a blood clot is unsuitable for a cell count, proceed with Gram stain and culture.

- If specimen is blood stained record the colour of supernatant after centrifugation.

- If after centrifugation a “turbid trace” specimen has a clear supernatant with a red button of RBC’s this must be reported as blood stained and not as turbid.

CELL COUNT

- Label a clean glass tube with the laboratory number.

- Using a sterile pasteur pipette place 1 drop of CSF stain in tube.

- Using a sterile pasteur pipette add 9 drops of CSF in the same tube.

- Mix contents by shaking gently.

- Place a cover slip over a Neubauer counting chamber and using a capillary tube fill chamber with stained sample.

- Examine the preparation under an ordinary light microscope using the 10X and 40X objectives.Perform count as follows: (Refer to fig. 2)

  - Count the number of RBC’s in the central square of the chamber and multiply by 10.

  - Count the number of polymorphs, lymphocytes and other cells in the central square as well as the four corner squares of the chamber and multiply by 2.

Refer to fig. 1 for the derivation of the formula for calculating the number of cells using the Neubauer counting chamber.

Figure 1:	DERIVATION OF FORMULA FOR CALCULATING NUMBER OF CELLS

USING THE NEUBAUER COUNTING CHAMBER

Total no. of WBCs 		=	      	    No. of cells (N) __________

Depth X Dilution factor X Area counted

=	          	 N_________

1/10 X 1 X 5

=	N X 2

Total no. of RBCs 		=	      	    No. of cells (N) __________

Depth X Dilution factor X Area counted

=                   	 N_________

1/10 X 1 X 1

=	N X 10

Figure 2: 	 DIAGRAM OF COUNTING CHAMBER

| Count RBCs in central square and X 10 |  |  |  |  |  | Count Polys and Lymphs in 4 corner (grey) squares and central square and X 2 |
| --- | --- | --- | --- | --- | --- | --- |

CULTURE AND MICROSCOPY

- Concentrate the CSF sample by centrifugation at 3000 rpm for 10 minutes.

- Label sterile tube, sterile glass slide and media with laboratory number.

- Aseptically decant the supernatant into a sterile capped tube.

- Vortex the sediment for a few seconds to re-suspend the pellet.

- Do not use a pipette to mix the sediment, because the bacteria and cells may adhere to the sides of the tube and cause false negative findings.

- Using a sterile Pasteur pipette inoculate Choc and BA plates with a free falling drop of CSF, as well as BHI broth if required.

- Use a sterile Pasteur pipette to prepare a smear for Gram stain by placing a free falling drop of CSF sediment onto a slide.

- Streak out plates using a sterile loop.

- Incubate BA and Choc agar at 37 (C in 5% CO2 for 18 – 24 hours.

- Incubate BHI broth aerobically at 37 (C for 18 – 24 hours.

- Set up direct antimicrobial susceptibility tests and additional media according to standard procedure if organisms are seen on microscopy. Refer to list below.

- Discard all biological waste as described in standard procedures.

ADDITIONAL MEDIA REQUIRED BASED ON MORPHOLOGY AND GRAM REACTION OF THE ORGANISM

Gram positive cocci in clusters:		- DNA agar

(? Staph)					- MSA ( mannitol salt agar )

- ST/STR sensitivityon MH (Mueller Hinton agar)

- Cefoxitin disc on MH (Mueller Hinton agar)

Gram positive cocci in pairs/chains:		-  Optochin disc on BA(Blood agar)

(? Strep)					-  ST/STR sens on MHSB (Mueller Hinton +

Sheep blood )agar

If Pneumococcus suspected also set up:

-  Pneumo sens on MHSB agar

-  Oxacillin 1ug disc on MHSB

-  Pen, CTX E-Test on MHSB

Gram negative diplococci:			- N.meningitidis  sensitivities  on MHSB

Mueller Hinton + Sheep blood agar

Gram negative bacilli? Enterobacteriacea:	-  MacConkey

-  Gram neg. susceptibility testing and ESBL

(Mueller Hinton agar)

Gram negative bacilli? Haemophilus:		-  Chocolate and MacConkey

-  HI sens on  Haemophilus test media agar

Appearance of anaerobes:			- 10% BA incubated anaerobically 48hrs

-  Amikacin blood agar anaerobically 48hrs

-  Thioglycolate broth O2 48hrs

GRAM STAIN

- Quantify presence/absence of pus cells/organisms:-

Not detected (0)

Few (1 – 5)

Moderate (6 – 15)

Many (>16)

- Examine the Gram stained smear for organisms on an ordinary light microscope using the 10X and 100X oil immersion objectives.

- Record results on patient’s worksheet. If a cell count was not performed comment on presence of and semi-quantitate white blood cells. If possible report if there is a predominance of polymorphs or lymphocytes.

- Notify the pathologist/registrar if organisms are seen on the gram stain.

INDIA INK PREPARATION (ONLY PERFORMED IF REQUIRED)

If yeast cells are seen on the counting chamber and/or gram stain determine and record whether they morphologically resemble Cryptococcus neoformans. If unsure an India ink preparation should be done to confirm the presence of a capsule. India ink does not stain cellular material therefore it provides a black background against which the capsules of  C. neoformans may be visualized.

- Place one drop of India ink on a slide.

- Add one drop of CSF sediment using a sterile Pasteur pipette and mix gently.

- Place cover slip over and examine on an ordinary light microscope using the 10X and

40X objectives.

EXAMINATION OF CULTURES

- Examine media plates for growth and broth for turbidity.

- If no visible growth/turbidity is observed re-incubate plates and broth for a further 24 hours.

- If no growth/turbidity is observed after additional incubation, re-incubate Choc and Blood agar plates for an additional 5 days. Discard broth as per standard procedures.

Report as “No growth after 48 hours”

- If turbidity is observed make a smear from broth by placing a drop on a glass slide. Dry and heat fix, gram stain and examine microscopically for organisms.

- If organisms are seen subculture broth and identify all isolates and perform antimicrobial susceptibility tests according to standard procedures.(See protocol on identification and susceptibility testing of micro-organisms)

- If growth occurs identify all isolates and perform antimicrobial susceptibility tests according to standard procedures .(See protocol on identification and susceptibility testing of micro-organisms)

Record the types and semi-quantitate growth as scanty 1+, 2+, 3+.

Quantitation of growth on plates:- scanty- growth on initial inoculum

1+       - growth on 1st quadrant

2+       - growth on 2nd quadrant

3+       - growth on 3rd quadrant

- Read and record direct antimicrobial susceptibility tests.  All antimicrobial susceptibility tests are repeated as per SOP.

Plates with no growth after 7 days incubation are discarded as per standard procedures

- If growth occurs after 7 days incubation, identify isolates and perform antimicrobial susceptibility tests according to standard procedures. (See protocol on identification and susceptibility testing of micro-organisms).

ANTIMICROBIAL SUSCEPTIBILITY TESTING

Antibiotic susceptibility testing is done on the automated VITEK 2 system. Refer to SOP of VITEK 2 System. Alternatively it may be done manually using the Kirby Bauer disc diffusion method according to CLSI guidelines. Read and record direct antimicrobial susceptibility tests.

- Perform (-lactamase tests on all H. influenzae and N. meningitidis isolates.

- Perform standardised antimicrobial susceptibility testing on all CSF isolates if requested.

CRYPTOCOCCAL ANTIGEN TEST

- Performed when requested/ordered, using CSF supernatant.

Method:  Cryptococcal antigen latex agglutination

Systems (Meridian)

CULTURE FOR TB

- Culture for TB upon request and clinical history as well as Lymphocytic predominance with a high protein on CSF cell count + chemistry.

- If a separate specimen is not received the deposit may be forwarded to the TB laboratory.

BACTERIAL ANTIGEN TEST : If available, a bacterial antigen test can be performed on CSF with a high polymorphonucleocyte count and no organisms visualized.

CULTURE FOR YEAST

Growth of organisms resembling yeast on the culture plate. Gram stain and India Ink performed – exclude Cryptococcus

If yeast resembling Candida – determine if yeast is a Candida albicans or a non albicans Candida spp. ( Perform a germ tube test

C. albicans are germ tube positive and Non albicans candida spp are germ tube negative

REFERENCES

- Lisa Anne Shimeld, Anne T. Rodgers, Essentials of Diagnostic Microbiology, Delmar.

- Isenberg, Clinical Microbiology Procedures Handbook, Volume 1.

ADDITIONAL INFORMATION

Table I :   Common causes of meningitis

1.	< 1 month (neonate)

Enteric GNB

Streptococcus agalactiae

Listeria monocytogenes

Herpes simplex virus 2

2.	3 mths - 5 yrs

H. influenzae

S. pneumoniae

N. meningitidis

TB

Viral - enterovirus and mumps

3.	> 5 yrs - Adults

S. pneumoniae

N. meningitidis

TB

Cryptococcus, Viral

4.	Immunocompromised  patients

TB

Cryptococcus

Any organism